## Slide 1: KZK Sim – Differences in Intensity Fields due to Nonlinearity
Lab Meeting
3/6/2015

## Slide 2: Objective
Examine the differences in intensity distributions generated by running the KZK simulations with varying nonlinear coefficients.

## Slide 3: Validation with Field II
C5-2, 2.36 MHz, 30 mm focus and 70 mm focus cases
α = 0.45 dB/cm/MHz
Amplitude of
Compared three normalized intensity fields:
  Field II
  KZK Sim w/ experimentally measured quarter-symmetric pressure inputs
  KZK Sim w/ pressure inputs synthesized from Field II

## Slide 4: Validation with Field II

## Slide 5: 30 mm Focus, β = 0, 3.5, 7 Comparison
C5-2, 2.36 MHz
α = 0.45 dB/cm/MHz
Amplitude of
β = 0, 3.5, 7

## Slide 6: 30 mm Focus, β = 0 and β = 7 Comparison

## Slide 7: 30 mm Focus, Extreme Nonlinear Comparison
C5-2, 2.36 MHz
Standard, Linear Case:
  α = 0.45 dB/cm/MHz
  Amplitude of
  β = 0
Extreme, Nonlinear Case:
  α = 0.10 dB/cm/MHz
  Amplitude of
  β = 10
30 mm Focus, β = 0, 3.5, 7 Comparison

## Slide 8: 70 mm Focus, β = 0, 3.5, 7 Comparison
C5-2, 2.36 MHz
α = 0.45 dB/cm/MHz
Amplitude of
β = 0, 3.5, 7

## Slide 9: 70 mm Focus, β = 0 and β = 7 Comparison